## Extracted IOs
IO Address | Description | Description Source | Number of Screens | Screens | Is Alarm
EXTER_READFLOAT[100] |  |  | 12 | BS&W TREND, LIC_801A POOL SEPARATOR OIL, LXIC_801A PRI INTERFACE LEVEL, LXIT_801C SEC WTR INTERF LEVEL, P4/P5 OIL PMPS TREND, P6 OIL SKIM PMP TREND, PIC_802 POOL SEPARATOR TO LP, PIC_802B POOL SEPARATOR TO VAC, PIC_802C MAKE UP FROM V700, V301 TEST SEP TREND, V700 VALVES TEND, V800 TREND | No
EXTER_READFLOAT[13] |  |  | 11 | BS&W TREND, LIC_801A POOL SEPARATOR OIL, LXIC_801A PRI INTERFACE LEVEL, LXIT_801C SEC WTR INTERF LEVEL, OVERVIEW, P4 & P5 OIL PUMP SET POINTS, PIC_802 POOL SEPARATOR TO LP, PIC_802B POOL SEPARATOR TO VAC, PIC_802C MAKE UP FROM V700, V-800 SET POINTS, V800 TREND | No
EXTER_READFLOAT[10] |  |  | 10 | LIC_801A POOL SEPARATOR OIL, LXIC_801A PRI INTERFACE LEVEL, LXIT_801C SEC WTR INTERF LEVEL, OVERVIEW, P4 & P5 OIL PUMP SET POINTS, PIC_802 POOL SEPARATOR TO LP, PIC_802B POOL SEPARATOR TO VAC, PIC_802C MAKE UP FROM V700, V-800 SET POINTS, V800 TREND | No
EXTER_READFLOAT[11] |  |  | 10 | LIC_801A POOL SEPARATOR OIL, LXIC_801A PRI INTERFACE LEVEL, LXIT_801C SEC WTR INTERF LEVEL, OVERVIEW, P4 & P5 OIL PUMP SET POINTS, PIC_802 POOL SEPARATOR TO LP, PIC_802B POOL SEPARATOR TO VAC, PIC_802C MAKE UP FROM V700, V-800 SET POINTS, V800 TREND | No
EXTER_READFLOAT[3] |  |  | 9 | BS&W TREND, INLET GAS PRESS TREND, LIC_701A POOL SEPARATOR OIL, LXIC_701B V700 _INTERFACE LVL, OVERVIEW, PIC_700 POOL SEPARATOR PRESS, V-700 SET POINTS, V700 TREND, V700 VALVES TEND | No
EXTER_READFLOAT[15] |  |  | 8 | LXIC_801A PRI INTERFACE LEVEL, LXIT_801C SEC WTR INTERF LEVEL, OVERVIEW, PIC_802 POOL SEPARATOR TO LP, PIC_802B POOL SEPARATOR TO VAC, PIC_802C MAKE UP FROM V700, V-800 SET POINTS, V800 TREND | No
EXTER_READFLOAT[1] |  |  | 7 | INLET GAS PRESS TREND, LIC_701A POOL SEPARATOR OIL, LXIC_701B V700 _INTERFACE LVL, OVERVIEW, PIC_700 POOL SEPARATOR PRESS, V-700 SET POINTS, V700 TREND | No
EXTER_READFLOAT[30] |  |  | 7 | LIC_101A T1 WTR PMP RECYCLE, OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PMP TREND, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS, TANK T-1 TREND | No
EXTER_READFLOAT[31] |  |  | 7 | LIC_101A T1 WTR PMP RECYCLE, OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PMP TREND, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS, TANK T-1 TREND | No
EXTER_READFLOAT[6] |  |  | 7 | LIC_701A POOL SEPARATOR OIL, OVERVIEW, PIC_700 POOL SEPARATOR PRESS, V-700 SET POINTS, V-800 SET POINTS, V700 TREND, V700 VALVES TEND | No
EXTER_READFLOAT[0] |  |  | 6 | LXIC_701B V700 _INTERFACE LVL, OVERVIEW, PIC_700 POOL SEPARATOR PRESS, V-700 SET POINTS, V-800 SET POINTS, V700 TREND | No
EXTER_READFLOAT[20] |  |  | 6 | LIC_101A T1 WTR PMP RECYCLE, OVERVIEW, P1 & P2 WW PMPS SET POINTS, P1/P2 WATER PMP TREND, TANK T-1 TREND, UTILITY AIR / POWER TREND | No
EXTER_READFLOAT[29] |  |  | 6 | LIC_101A T1 WTR PMP RECYCLE, OVERVIEW, P1 & P2 WW PMPS SET POINTS, P1/P2 WATER PMP TREND, TANK T-1 TREND, UTILITY AIR / POWER TREND | No
EXTER_READFLOAT[5] |  |  | 6 | LXIC_701B V700 _INTERFACE LVL, OVERVIEW, PIC_700 POOL SEPARATOR PRESS, V-700 SET POINTS, V700 TREND, V700 VALVES TEND | No
EXTER_READFLOAT[7] |  |  | 6 | LXIC_701B V700 _INTERFACE LVL, OVERVIEW, PIC_700 POOL SEPARATOR PRESS, V-700 SET POINTS, V-800 SET POINTS, V700 VALVES TEND | No
BIT[1] |  |  | 5 | LXIC_801A PRI INTERFACE LEVEL, LXIT_801C SEC WTR INTERF LEVEL, OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | No
EXTER_READFLOAT[22] |  |  | 5 | BS&W TREND, OVERVIEW, P4 & P5 OIL PUMP SET POINTS, P4/P5 OIL PMPS TREND, V-800 SET POINTS | No
EXTER_READFLOAT[32] |  |  | 5 | LIC_101A T1 WTR PMP RECYCLE, P1 & P2 WW PMPS SET POINTS, P1/P2 WATER PMP TREND, TANK T-1 TREND, UTILITY AIR / POWER TREND | No
READFLOAT[10] | SITE TOTAL SAMPLES | IONaming | 5 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS, TANK T-1 TREND | No
ALARM[10] | LAHH_T1 T-1 WATER STORAGE TANK LEVEL ALARM HIGH HIGH | Alarm | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS | Yes
ALARM[11] | LAH_T1 T-1 WATER STORAGE TANK LEVEL ALARM HIGH | Alarm | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS | Yes
ALARM[12] | LAL_T1 T-1 WATER STORAGE TANK LEVEL ALARM LOW | Alarm | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS | Yes
ALARM[13] | LALL_T1 T-1 WATER STORAGE TANK LEVEL ALARM LOW LOW | Alarm | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS | Yes
ALARM[4] | LSHH_T1 T-1 WATER STORAGE TANK LEVEL SWITCH HIGH HIGH | Alarm | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS | Yes
ALARM[5] | LSLL_T1 T-1 WATER STORAGE TANK LEVEL SWITCH LOW LOW | Alarm | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS | Yes
ALARM[6] | LXAHH_T1 T-1 WATER STORAGE TANK INTERFACE LEVEL ALARM HIGH HIGH | Alarm | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS | Yes
ALARM[7] | LXAH_T1 T-1 WATER STORAGE TANK INTERFACE LEVEL ALARM HIGH | Alarm | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS | Yes
ALARM[8] | LXAL_T1 T-1 WATER STORAGE TANK INTERFACE LEVEL ALARM LOW | Alarm | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS | Yes
ALARM[9] | LXALL_T1 T-1 WATER STORAGE TANK INTERFACE LEVEL ALARM LOW LOW | Alarm | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P6 OIL SKIM PUMP SET POINTS, T-1 SET POINTS | Yes
EXTER_READFLOAT[24] |  |  | 4 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, P1/P2 WATER PMP TREND, UTILITY AIR / POWER TREND | No
EXTER_READFLOAT[26] |  |  | 4 | LIC_801A POOL SEPARATOR OIL, OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | No
RACK00_SLOT06_TABLE[6] |  |  | 4 | INSTRUMENT AIR SET POINTS, OVERVIEW, RACK_00_SLOT_6 ANALOG INPUT, UTILITY AIR / POWER TREND | No
ALARM[14] | PAHH_801 V801 FLASH VESSEL PRESSURE ALARM HIGH HIGH | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[15] | PAH_801 V801 FLASH VESSEL PRESSURE ALARM HIGH | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[16] | PAL_801 V801 FLASH VESSEL PRESSURE ALARM LOW | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[17] | PALL_801 V801 FLASH VESSEL PRESSURE ALARM LOW LOW | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[31] | LSHH_801 V-800 FLASH VESSEL OVER-ALL LEVEL SWITCH HIGH HIGH | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[32] | LSH_801 V-800 FLASH VESSEL OVER-ALL LEVEL SWITCH HIGH | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[33] | LSL_801 V-800 FLASH VESSEL OVER-ALL LEVEL SWITCH LOW | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[34] | LSLL_801 V-800 FLASH VESSEL OVER-ALL LEVEL SWITCH LOW LOW | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[35] | LXAHH_801 V-800 FLASH VESSEL INTERFACE LEVEL ALARM HIGH HIGH | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[36] | LXAH_801 V-800 FLASH VESSEL INTERFACE LEVEL ALARM HIGH | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[37] | LXAL_801 V-800 FLASH VESSEL INTERFACE LEVEL ALARM LOW | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[38] | LXALL_801 V-800 FLASH VESSEL INTERFACE LEVEL ALARM LOW LOW | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[50] | PAHH_701 V-700 FLASH VESSEL PRESSURE ALARM HIGH HIGH | Alarm | 3 | OVERVIEW, V-700 SET POINTS, V-800 SET POINTS | Yes
ALARM[51] | PAH_701 V-700 FLASH VESSEL PRESSURE ALARM HIGH | Alarm | 3 | OVERVIEW, V-700 SET POINTS, V-800 SET POINTS | Yes
ALARM[52] | PAL_701 V-700 FLASH VESSEL PRESSURE ALARM LOW | Alarm | 3 | OVERVIEW, V-700 SET POINTS, V-800 SET POINTS | Yes
ALARM[53] | PALL_701 V-700 FLASH VESSEL PRESSURE ALARM LOW LOW | Alarm | 3 | OVERVIEW, V-700 SET POINTS, V-800 SET POINTS | Yes
ALARM[73] | AAHH_111 P-4 P-5 OIL SHIPPING PUMPS BS&W ALARM HIGH HIGH | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[74] | AAH_111 P-4 P-5 OIL SHIPPING PUMPS BS&W ALARM HIGH | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[86] | LAHH_V801 V-800 FLASH VESSEL OVER-ALL LEVEL ALARM HIGH HIGH | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[87] | LAH_V801 V-800 FLASH VESSEL OVER-ALL LEVEL ALARM HIGH | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[88] | LAL_V801 V-800 FLASH VESSEL OVER-ALL LEVEL ALARM LOW | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
ALARM[89] | LALL_V801 V-800 FLASH VESSEL OVER-ALL LEVEL ALARM LOW LOW | Alarm | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | Yes
EXTER_READFLOAT[14] |  |  | 3 | LXIT_801C SEC WTR INTERF LEVEL, OVERVIEW, V-800 SET POINTS | No
EXTER_READFLOAT[17] |  |  | 3 | OVERVIEW, PIC_802B POOL SEPARATOR TO VAC, V-800 SET POINTS | No
EXTER_READFLOAT[18] |  |  | 3 | OVERVIEW, PIC_802 POOL SEPARATOR TO LP, V-800 SET POINTS | No
EXTER_READFLOAT[23] |  |  | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, P4/P5 OIL PMPS TREND | No
EXTER_READFLOAT[33] |  |  | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, P4/P5 OIL PMPS TREND | No
EXTER_READFLOAT[4] |  |  | 3 | BS&W TREND, OVERVIEW, V-700 SET POINTS | No
RACK00_SLOT05_TABLE[11] |  |  | 3 | OVERVIEW, RACK_00_SLOT_5 ANALOG INPUT, V-700 SET POINTS | No
RACK00_SLOT05_TABLE[12] |  |  | 3 | OVERVIEW, RACK_00_SLOT_5 ANALOG INPUT, V-800 SET POINTS | No
RACK00_SLOT05_TABLE[14] |  |  | 3 | OVERVIEW, RACK_00_SLOT_5 ANALOG INPUT, V-800 SET POINTS | No
RACK00_SLOT05_TABLE[7] |  |  | 3 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[9] |  |  | 3 | OVERVIEW, RACK_00_SLOT_5 ANALOG INPUT, V-700 SET POINTS | No
RACK00_SLOT06_TABLE[11] |  |  | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[13] |  |  | 3 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS, RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[7] |  |  | 3 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[9] |  |  | 3 | OVERVIEW, P1 & P2 WW PMPS SET POINTS, RACK_00_SLOT_6 ANALOG INPUT | No
ALARM[23] | LXAHH_701 V-700 LP POOL SEPERATOR INTERFACE LEVEL ALARM HIGH HIGH | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[24] | LXAH_V701 V-700 LP POOL SEPERATOR INTERFACE LEVEL ALARM HIGH | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[25] | LXAL_V701 V-700 LP POOL SEPERATOR INTERFACE LEVEL ALARM LOW | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[26] | LXALL_V701 V-700 LP POOL SEPERATOR INTERFACE LEVEL ALARM LOW LOW | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[27] | LSHH_701 V-700 LP POOL SEPERATOR OVER-ALL LEVEL ALARM HIGH HIGH | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[28] | LSH_701 V-700 LP POOL SEPERATOR OVER-ALL LEVEL ALARM HIGH | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[29] | LSL_701 V-700 LP POOL SEPERATOR OVER-ALL LEVEL ALARM LOW | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[30] | LSLL_701 V-700 LP POOL SEPERATOR OVER-ALL LEVEL SWITCH LOW LOW | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[43] | PAHH_001 SITE INSTRUMENT AIR PRESSURE ALARM HIGH HIGH | Alarm | 2 | INSTRUMENT AIR SET POINTS, OVERVIEW | Yes
ALARM[44] | PAH_001 SITE INSTRUMENT AIR PRESSURE ALARM HIGH | Alarm | 2 | INSTRUMENT AIR SET POINTS, OVERVIEW | Yes
ALARM[45] | PAL_001 SITE INSTRUMENT AIR PRESSURE ALARM LOW | Alarm | 2 | INSTRUMENT AIR SET POINTS, OVERVIEW | Yes
ALARM[46] | PALL_001 SITE INSTRUMENT AIR PRESSURE ALARM LOW LOW | Alarm | 2 | INSTRUMENT AIR SET POINTS, OVERVIEW | Yes
ALARM[48] | AAHH_701 V-700 LP POOL SEPERATOR BS&W ALARM HIGH HIGH | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[49] | AAH_701 V-700 LP POOL SEPERATOR BS&W ALARM HIGH | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[54] | P-1 P-2 WATER SHIPPING PUMPS DISC. PRESSURE ALARM HIGH HIGH | Alarm | 2 | OVERVIEW, P1 & P2 WW PMPS SET POINTS | Yes
ALARM[55] | P-1 P-2 WATER SHIPPING PUMPS DISC. PRESSURE ALARM HIGH | Alarm | 2 | OVERVIEW, P1 & P2 WW PMPS SET POINTS | Yes
ALARM[56] | P-1 P-2 WATER SHIPPING PUMPS DISC. PRESSURE ALARM LOW | Alarm | 2 | OVERVIEW, P1 & P2 WW PMPS SET POINTS | Yes
ALARM[57] | P-1 P-2 WATER SHIPPING PUMPS DISC. PRESSURE ALARM LOW LOW | Alarm | 2 | OVERVIEW, P1 & P2 WW PMPS SET POINTS | Yes
ALARM[58] | P-4 P-5 OIL SHIPPING PUMPS DISC. PRESSURE ALARM HIGH HIGH | Alarm | 2 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS | Yes
ALARM[60] | P-4 P-5 OIL SHIPPING PUMPS DISC. PRESSURE ALARM LOW | Alarm | 2 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS | Yes
ALARM[61] | P-4 P-5 OIL SHIPPING PUMPS DISC. PRESSURE ALARM LOW LOW | Alarm | 2 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS | Yes
ALARM[80] | LAHH_V701V-700 LP POOL SEPERATOR OVER-ALL LEVEL ALARM HIGH HIGH | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[81] | LAH_V701 V-700 LP POOL SEPERATOR OVER-ALL LEVEL ALARM HIGH | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[82] | LAL_V701 V-700 LP POOL SEPERATOR OVER-ALL LEVEL ALARM LOW | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
ALARM[83] | LALL_V701 V-700 LP POOL SEPERATOR OVER-ALL LEVEL ALARM LOW LOW | Alarm | 2 | OVERVIEW, V-700 SET POINTS | Yes
EXTER_READFLOAT[19] |  |  | 2 | OVERVIEW, PIC_802C MAKE UP FROM V700 | No
EXTER_READFLOAT[25] |  |  | 2 | OVERVIEW, V700 VALVES TEND | No
INTEGER[1001] |  |  | 2 | P1 & P2 WW PMPS SET POINTS, T-1 SET POINTS | No
M60@8 |  |  | 2 | OVERVIEW, V-700 SET POINTS | No
RACK00_SLOT04_TABLE[11] |  |  | 2 | P4 & P5 OIL PUMP SET POINTS, RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT15_TABLE[0] |  |  | 2 | P1 & P2 WW PMPS SET POINTS, RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[12] |  |  | 2 | P6 OIL SKIM PUMP SET POINTS, RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[3] |  |  | 2 | P1 & P2 WW PMPS SET POINTS, RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[6] |  |  | 2 | P4 & P5 OIL PUMP SET POINTS, RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[9] |  |  | 2 | P4 & P5 OIL PUMP SET POINTS, RACK_00_SLOT_15 DISCRETE INPUT | No
READFLOAT[46] | TOTAL OIL DISCHARGE SUM YESTERDAY BBL | IONaming | 2 | OVERVIEW, P4 & P5 OIL PUMP SET POINTS | No
READFLOAT[734] |  |  | 2 | OVERVIEW, P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[500] |  |  | 2 | LIC_101A T1 WTR PMP RECYCLE, P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[504] |  |  | 2 | LIC_801A POOL SEPARATOR OIL, P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[671] |  |  | 2 | P1 & P2 WW PMPS SET POINTS, T-1 SET POINTS | No
WRITEFLOAT[672] |  |  | 2 | P1 & P2 WW PMPS SET POINTS, T-1 SET POINTS | No
WRITEFLOAT[673] |  |  | 2 | P1 & P2 WW PMPS SET POINTS, T-1 SET POINTS | No
WRITEFLOAT[674] |  |  | 2 | P1 & P2 WW PMPS SET POINTS, T-1 SET POINTS | No
WRITEFLOAT[822] |  |  | 2 | P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | No
WRITEFLOAT[823] |  |  | 2 | P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | No
WRITEFLOAT[824] |  |  | 2 | P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | No
WRITEFLOAT[825] |  |  | 2 | P4 & P5 OIL PUMP SET POINTS, V-800 SET POINTS | No
WRITEFLOAT[860] |  |  | 2 | V-700 SET POINTS, V-800 SET POINTS | No
WRITEFLOAT[861] |  |  | 2 | V-700 SET POINTS, V-800 SET POINTS | No
WRITEFLOAT[862] |  |  | 2 | V-700 SET POINTS, V-800 SET POINTS | No
WRITEFLOAT[863] |  |  | 2 | V-700 SET POINTS, V-800 SET POINTS | No
ALARM[638] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
ALARM[639] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
ALARM[640] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
ALARM[641] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
ALARM[70] | ZSO_702 V-700 LP POOL STACK VALVE FAILED TO OPEN | Alarm | 1 | OVERVIEW | Yes
ALARM[72] | ZS0_802 V-800 FLASH VESSEL STACK VALVE FAILED TO OPEN | Alarm | 1 | OVERVIEW | Yes
ALARM[76] | PAL_701 P-4 / P-5 OIL PUMPS SUCT PRESSURE ALARM LOW | Alarm | 1 | P4 & P5 OIL PUMP SET POINTS | Yes
ALARM[77] | PAL_701 P-4 / P-5 OIL PUMPS SUCT PRESSURE ALARM LOW LOW | Alarm | 1 | P4 & P5 OIL PUMP SET POINTS | Yes
ALARM[91] | FAHH_ 101 P1 / P2 COMMON FLOW ALARM HIGH HIGH | Alarm | 1 | P1 & P2 WW PMPS SET POINTS | Yes
ALARM[92] | FAH_ 101 P1 / P2 COMMON FLOW ALARM HIGH | Alarm | 1 | P1 & P2 WW PMPS SET POINTS | Yes
ALARM[93] | FAL_ 101 P1 / P2 COMMON FLOW ALARM LOW | Alarm | 1 | P1 & P2 WW PMPS SET POINTS | Yes
ALARM[94] | FALL_ 101 P1 / P2 COMMON FLOW ALARM LOW LOW | Alarm | 1 | P1 & P2 WW PMPS SET POINTS | Yes
BIT[199] |  |  | 1 | Main | No
DataAcquisitionRead[266].1 | POWERFAIL, ALARM | IONaming | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
EXTER_INTEGER[41] |  |  | 1 | P1/P2 WATER PMP TREND | No
EXTER_INTEGER[42] |  |  | 1 | P1/P2 WATER PMP TREND | No
EXTER_INTEGER[44] |  |  | 1 | P4/P5 OIL PMPS TREND | No
EXTER_INTEGER[45] |  |  | 1 | P4/P5 OIL PMPS TREND | No
EXTER_INTEGER[46] |  |  | 1 | P6 OIL SKIM PMP TREND | No
EXTER_READFLOAT[8] |  |  | 1 | OVERVIEW | No
INTEGER[1002] |  |  | 1 | V-700 SET POINTS | No
INTEGER[1003] |  |  | 1 | V-800 SET POINTS | No
INTEGER[5] | V700 INTERFACE SELECTION 1=ROSEMOUNT BRIDAL 2=DREXELBROOK VESSEL | IONaming | 1 | OVERVIEW | No
INTEGER[6] | V800 INTERFACE SELECTION 1=ROSEMOUNT BRIDAL 2=DREXELBROOK VESSEL | IONaming | 1 | OVERVIEW | No
INTEGER[901] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
INTEGER[902] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
INTEGER[904] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
INTEGER[905] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
INTEGER[906] |  |  | 1 | P6 OIL SKIM PUMP SET POINTS | No
INTEGER[911] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
INTEGER[914] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
MSG_DATA_READ_NU_1B_8D[1] |  |  | 1 | INLET GAS PRESS TREND | No
MSG_DATA_READ_NU_1B_8D[3] |  |  | 1 | INLET GAS PRESS TREND | No
MSG_TS_1D_9D_READ_DATA[1] |  |  | 1 | INLET GAS PRESS TREND | No
MSG_TS_1D_9D_READ_DATA[2] |  |  | 1 | INLET GAS PRESS TREND | No
PIT_1002 |  |  | 1 | OVERVIEW | No
RACK00_SLOT04_TABLE[0] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[10] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[12] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[13] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[14] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[15] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[1] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[2] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[3] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[4] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[5] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[6] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[7] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[8] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT04_TABLE[9] |  |  | 1 | RACK_00_SLOT_4 ANALOG INPUT | No
RACK00_SLOT05_TABLE[0] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[10] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[13] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[15] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[1] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[2] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[3] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[4] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[5] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[6] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT05_TABLE[8] |  |  | 1 | RACK_00_SLOT_5 ANALOG INPUT | No
RACK00_SLOT06_TABLE[0] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[10] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[12] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[14] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[15] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[1] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[2] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[3] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[4] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[5] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT06_TABLE[8] |  |  | 1 | RACK_00_SLOT_6 ANALOG INPUT | No
RACK00_SLOT07_TABLE[0] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[10] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[11] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[12] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[13] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[14] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[15] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[1] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[2] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[3] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[4] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[5] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[6] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[7] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[8] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT07_TABLE[9] |  |  | 1 | RACK_00_SLOT_7 ANALOG INPUT | No
RACK00_SLOT08_TABLE[0] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[10] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[11] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[12] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[13] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[14] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[15] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[1] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[2] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[3] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[4] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[5] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[6] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[7] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[8] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT08_TABLE[9] |  |  | 1 | RACK_00_SLOT_8 ANALOG INPUT | No
RACK00_SLOT09_TABLE[0] |  |  | 1 | RACK_00_SLOT_9 ANALOG OUTPUT | No
RACK00_SLOT09_TABLE[1] |  |  | 1 | RACK_00_SLOT_9 ANALOG OUTPUT | No
RACK00_SLOT09_TABLE[2] |  |  | 1 | RACK_00_SLOT_9 ANALOG OUTPUT | No
RACK00_SLOT09_TABLE[3] |  |  | 1 | RACK_00_SLOT_9 ANALOG OUTPUT | No
RACK00_SLOT09_TABLE[4] |  |  | 1 | RACK_00_SLOT_9 ANALOG OUTPUT | No
RACK00_SLOT09_TABLE[5] |  |  | 1 | RACK_00_SLOT_9 ANALOG OUTPUT | No
RACK00_SLOT09_TABLE[6] |  |  | 1 | RACK_00_SLOT_9 ANALOG OUTPUT | No
RACK00_SLOT09_TABLE[7] |  |  | 1 | RACK_00_SLOT_9 ANALOG OUTPUT | No
RACK00_SLOT10_TABLE[0] |  |  | 1 | RACK_00_SLOT_10 ANALOG OUTPUT | No
RACK00_SLOT10_TABLE[1] |  |  | 1 | RACK_00_SLOT_10 ANALOG OUTPUT | No
RACK00_SLOT10_TABLE[2] |  |  | 1 | RACK_00_SLOT_10 ANALOG OUTPUT | No
RACK00_SLOT10_TABLE[3] |  |  | 1 | RACK_00_SLOT_10 ANALOG OUTPUT | No
RACK00_SLOT10_TABLE[4] |  |  | 1 | RACK_00_SLOT_10 ANALOG OUTPUT | No
RACK00_SLOT10_TABLE[5] |  |  | 1 | RACK_00_SLOT_10 ANALOG OUTPUT | No
RACK00_SLOT10_TABLE[6] |  |  | 1 | RACK_00_SLOT_10 ANALOG OUTPUT | No
RACK00_SLOT10_TABLE[7] |  |  | 1 | RACK_00_SLOT_10 ANALOG OUTPUT | No
RACK00_SLOT11_TABLE[0] |  |  | 1 | RACK_00_SLOT_11 ANALOG OUTPUT | No
RACK00_SLOT11_TABLE[1] |  |  | 1 | RACK_00_SLOT_11 ANALOG OUTPUT | No
RACK00_SLOT11_TABLE[2] |  |  | 1 | RACK_00_SLOT_11 ANALOG OUTPUT | No
RACK00_SLOT11_TABLE[3] |  |  | 1 | RACK_00_SLOT_11 ANALOG OUTPUT | No
RACK00_SLOT11_TABLE[4] |  |  | 1 | RACK_00_SLOT_11 ANALOG OUTPUT | No
RACK00_SLOT11_TABLE[5] |  |  | 1 | RACK_00_SLOT_11 ANALOG OUTPUT | No
RACK00_SLOT11_TABLE[6] |  |  | 1 | RACK_00_SLOT_11 ANALOG OUTPUT | No
RACK00_SLOT11_TABLE[7] |  |  | 1 | RACK_00_SLOT_11 ANALOG OUTPUT | No
RACK00_SLOT12_TABLE[0] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[10] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[11] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[12] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[13] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[14] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[15] |  |  | 1 | UTILITY AIR / POWER TREND | No
RACK00_SLOT12_TABLE[1] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[2] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[3] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[4] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[5] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[6] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[7] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[8] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT12_TABLE[9] |  |  | 1 | RACK_00_SLOT_12 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[0] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[10] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[11] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[12] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[13] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[14] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[15] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[1] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[2] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[3] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[4] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[5] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[6] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[7] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[8] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT13_TABLE[9] |  |  | 1 | RACK_00_SLOT_13 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[0] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[10] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[11] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[12] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[13] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[14] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[15] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[1] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[2] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[3] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[4] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[5] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[6] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[7] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[8] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT14_TABLE[9] |  |  | 1 | RACK_00_SLOT_14 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[10] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[11] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[13] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[14] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[15] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[1] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[2] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[4] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[5] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[7] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT15_TABLE[8] |  |  | 1 | RACK_00_SLOT_15 DISCRETE INPUT | No
RACK00_SLOT16_TABLE[0] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[10] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[11] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[12] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[13] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[14] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[15] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[1] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[2] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[3] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[4] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[5] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[6] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[7] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[8] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
RACK00_SLOT16_TABLE[9] |  |  | 1 | RACK_00_SLOT_16 RELAY OUTPUT | No
WRITEFLOAT[501] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[502] |  |  | 1 | LIC_701A POOL SEPARATOR OIL | No
WRITEFLOAT[503] |  |  | 1 | LXIC_701B V700 _INTERFACE LVL | No
WRITEFLOAT[505] |  |  | 1 | LXIC_801A PRI INTERFACE LEVEL | No
WRITEFLOAT[506] |  |  | 1 | LXIT_801C SEC WTR INTERF LEVEL | No
WRITEFLOAT[507] |  |  | 1 | PIC_700 POOL SEPARATOR PRESS | No
WRITEFLOAT[508] |  |  | 1 | PIC_802 POOL SEPARATOR TO LP | No
WRITEFLOAT[509] |  |  | 1 | PIC_802B POOL SEPARATOR TO VAC | No
WRITEFLOAT[510] |  |  | 1 | PIC_802C MAKE UP FROM V700 | No
WRITEFLOAT[675] |  |  | 1 | T-1 SET POINTS | No
WRITEFLOAT[676] |  |  | 1 | T-1 SET POINTS | No
WRITEFLOAT[677] |  |  | 1 | T-1 SET POINTS | No
WRITEFLOAT[678] |  |  | 1 | T-1 SET POINTS | No
WRITEFLOAT[679] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[680] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[681] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[682] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[699] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[700] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[701] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[702] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[740] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[741] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[748] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[749] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[750] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[751] |  |  | 1 | P4 & P5 OIL PUMP SET POINTS | No
WRITEFLOAT[794] |  |  | 1 | INSTRUMENT AIR SET POINTS | No
WRITEFLOAT[795] |  |  | 1 | INSTRUMENT AIR SET POINTS | No
WRITEFLOAT[796] |  |  | 1 | INSTRUMENT AIR SET POINTS | No
WRITEFLOAT[797] |  |  | 1 | INSTRUMENT AIR SET POINTS | No
WRITEFLOAT[802] |  |  | 1 | V-700 SET POINTS | No
WRITEFLOAT[803] |  |  | 1 | V-700 SET POINTS | No
WRITEFLOAT[804] |  |  | 1 | V-700 SET POINTS | No
WRITEFLOAT[805] |  |  | 1 | V-700 SET POINTS | No
WRITEFLOAT[806] |  |  | 1 | V-700 SET POINTS | No
WRITEFLOAT[807] |  |  | 1 | V-700 SET POINTS | No
WRITEFLOAT[808] |  |  | 1 | V-700 SET POINTS | No
WRITEFLOAT[809] |  |  | 1 | V-700 SET POINTS | No
WRITEFLOAT[818] |  |  | 1 | V-800 SET POINTS | No
WRITEFLOAT[819] |  |  | 1 | V-800 SET POINTS | No
WRITEFLOAT[820] |  |  | 1 | V-800 SET POINTS | No
WRITEFLOAT[821] |  |  | 1 | V-800 SET POINTS | No
WRITEFLOAT[828] |  |  | 1 | P6 OIL SKIM PUMP SET POINTS | No
WRITEFLOAT[829] |  |  | 1 | P6 OIL SKIM PUMP SET POINTS | No
WRITEFLOAT[850] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[851] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[852] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[853] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[854] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[855] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[856] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[857] |  |  | 1 | P1 & P2 WW PMPS SET POINTS | No
WRITEFLOAT[864] |  |  | 1 | V-700 SET POINTS | No
WRITEFLOAT[865] |  |  | 1 | V-700 SET POINTS | No
WRITEFLOAT[874] |  |  | 1 | V-800 SET POINTS | No
WRITEFLOAT[875] |  |  | 1 | V-800 SET POINTS | No
ALARM[18] | XA_P1 P1 WATER PUMP FAILED TO RUN ALARM | Alarm | 0 |  | Yes
ALARM[19] | XA_P2 P-2 WATER PUMP FAILED TO RUN ALARM | Alarm | 0 |  | Yes
ALARM[20] | XA_P4 P4 OIL PUMP FAILED TO RUN ALARM | Alarm | 0 |  | Yes
ALARM[21] | XA_P5 P5 OIL PUMP FAILED TO RUN ALARM | Alarm | 0 |  | Yes
ALARM[22] | XA_P6 P6 OIL SKIM PUMP FAILED TO RUN ALARM | Alarm | 0 |  | Yes
ALARM[39] | LSH_V201 V-201TEST SEPERATOR OVER-ALL LEVEL SWITCH HIGH | Alarm | 0 |  | Yes
ALARM[40] | LSL_V201 V-201TEST SEPERATOR OVER-ALL LEVEL SWITCH LOW | Alarm | 0 |  | Yes
ALARM[41] | LSH_V301 V-301TEST SEPERATOR OVER-ALL LEVEL SWITCH HIGH | Alarm | 0 |  | Yes
ALARM[42] | LSL_V301 V-301TEST SEPERATOR OVER-ALL LEVEL SWITCH LOW | Alarm | 0 |  | Yes
ALARM[47] | POWER_FAIL SITE LOSS OF UTILITY POWER 1= NORMAL 0-ALARM | Alarm | 0 |  | Yes
ALARM[59] | P-4 P-5 OIL SHIPPING PUMPS DISC. PRESSURE ALARM HIGH | Alarm | 0 |  | Yes
ALARM[62] | PAHH_201 TEST SEPERATOR PRESSURE ALARM HIGH HIGH | Alarm | 0 |  | Yes
ALARM[63] | PAH_201 TEST SEPERATOR PRESSURE ALARM HIGH | Alarm | 0 |  | Yes
ALARM[64] | PAL_201 TEST SEPERATOR PRESSURE ALARM LOW | Alarm | 0 |  | Yes
ALARM[65] | PAL_201 TEST SEPERATOR PRESSURE ALARM LOW LOW | Alarm | 0 |  | Yes
ALARM[66] | PAHH_301 TEST SEPERATOR PRESSURE ALARM HIGH HIGH | Alarm | 0 |  | Yes
ALARM[67] | PAH_301 TEST SEPERATOR PRESSURE ALARM HIGH | Alarm | 0 |  | Yes
ALARM[68] | ESD_PB SITE PRODUCTION SHUT-IN BUTTON | Alarm | 0 |  | Yes
ALARM[69] | ZSC_702 V-700 LP POOL STACK VALVE FAILED TO CLOSE | Alarm | 0 |  | Yes
ALARM[71] | ZSC_802 V-800 FLASH VESSEL STACK VALVE FAILED TO CLOSE | Alarm | 0 |  | Yes
ALARM[75] | SITE WELL SHUTDOWN ALARM | Alarm | 0 |  | Yes
ALARM[90] | PSHH_ AIR SITE INSTRUMENT AIR PRESSURE ALARM HIGH HIGH | Alarm | 0 |  | Yes
ALARM[95] | T-1 HIGH HIGH LEVEL PMP START OVER-RIDE ALARM | Alarm | 0 |  | Yes